RRL East Cabins Irrigation Mainline Project Materials

Project Start 2-25-26

All pipe 40’ or 50’ pieces please

400’ of 4” DR 11 IPS HDPE Pipe

2,520’ of 3” DR 11 IPS HDPE Pipe

520’ of 2” DR 11 IPS HDPE Pipe

(4) 4” DR 11 IPS HDPE 45-degree elbows

(2) 4” DR 11 IPS HDPE 22.5-degree elbows

(4) 3” DR 11 IPS HDPE 45-degree elbows

(4) 3” DR 11 IPS HDPE 22.5-degree elbows

(2) 2” DR 11 IPS HDPE 45-degree elbows

(2) 2” DR 11 IPS HDPE 22.5-degree elbows

(2) 4”x3” DR 11 IPS HDPE Tees

(3) 4”x2” DR 11 IPS HDPE Tees

(6) 3”x3” DR 11 IPS HDPE Tees

(2) 3”x2” DR 11 IPS HDPE Tees

(5) 3” Resilient wedge epoxy coated gate valve with 3” DR 11 IPS HDPE Integrated adapters

(3) 2” Resilient wedge epoxy coated gate valve with 2” DR 11 IPS HDPE Integrated adapters

(8) 24” to 30” bury cast iron valve box with lid

4000’ of blue tracer wire with 20 silicon tube and wire nut splice kits.

(6) 3” DR 11 IPS HDPE flange adapter with backing ring and (6) HDPE bolt kits

(4) 2” DR 11 IPS HDPE flange adapter with backing ring and (4) HDPE bolt kits

4000’ Reel of 1.25” orange DR 11 IPS HDPE duct for low voltage signal wire